UNIT-5

PLANT ECONOMICS & ENVIRONMENTAL CONSIDERATIONS

The main terms and factors are as follows:

1. Load Factor

It is defined as the ratio of the average load to the peak load during a certain prescribed period of

time. The load factor of a power plant should be high so that the total capacity of the plant is utilized for the maximum period that will result in lower cost of the electricity being generated. It is always less than unity.

High load factor is a desirable quality. Higher load factor means greater average load, resulting in greater number of power units generated for a given maximum demand. Thus, the fixed cost, which is proportional to the maximum demand, can be distributed over a greater number of units (kWh) supplied. This will lower the overall cost of the supply of electric energy.

2. Utility Factor

It is the ratio of the units of electricity generated per year to the capacity of the plant installed in

the station. It can also be defined as the ratio of maximum demand of a plant to the rated capacity of the plant. Supposing the rated capacity of a plant is 200 mW. The maximum load on the plant is 100 mW at load factor of 80 per cent, then the utility will be

= (100 × 0.8)/(200) = 40%

3. Plant Operating Factor

It is the ratio of the duration during which the plant is in actual service, to the total duration of the period of time considered.

4. Plant Capacity Factor

It is the ratio of the average loads on a machine or equipment to the rating of the machine or

equipment, for a certain period of time considered.

Since the load and diversity factors are not involved with ‘reserve capacity’ of the power plant, a

factor is needed which will measure the reserve, likewise the degree of utilization of the installed equipment. For this, the factor “Plant factor, Capacity factor or Plant Capacity factor” is defined as, Plant Capacity Factor = (Actual kWh Produced)/(Maximum Possible Energy that might have

produced during the same period)

Thus the annual plant capacity factor will be,

= (Annual kWh produced)/[Plant capacity (kW) × hours of the year]

The difference between load and capacity factors is an indication of reserve capacity.

5. Demand Factor

The actual maximum demand of a consumer is always less than his connected load since all the

appliances in his residence will not be in operation at the same time or to their fullest extent. This ratio of' the maximum demand of a system to its connected load is termed as demand factor. It is always less than unity.

6. Diversity Factor

Supposing there is a group of consumers. It is known from experience that the maximum demands of the individual consumers will not occur at one time. The ratio of the sum of the individual maximum demands to the maximum demand of the total group is known as diversity factor.

It is always greater than unity.

High diversity factor (which is always greater than unity) is also a desirable quality. With a given

number of consumers, higher the value of diversity factor, lower will be the maximum demand on the plant, since,

Diversity factor = Sum of the individual maximum Demands/Maximum demand of the total

group

So, the capacity of the plant will be smaller, resulting in fixed charges.

7. Load Curve

It is a curve showing the variation of power with time. It shows the value of a specific load for

each unit of the period covered. The unit of time considered may be hour, days, weeks, months or years.

8. Load Duration Curve

It is the curve for a plant showing the total time within a specified period, during which the load

equaled or exceeded the values shown.

.

9. Plant Use Factor

This is a modification of Plant Capacity factor in that only the actual number of hours that the

plant was in operation is used. Thus Annual Plant Use factor is,

= (Annual kWh produced) / [Plant capacity (kW) × number of hours of plant operation]

FACTOR EFFECTING POWER PLANT DESIGN

Following are the factor effecting while designing a power plant.

(1) Location of power plant

(2) Availability of water in power plant

(3) Availability of labour nearer to power plant

(4) Land cost of power plant

(5) Low operating cost

(6) Low maintenance cost

(7) Low cost of energy generation

(8) Low capital cost

EFFECT OF POWER PLANT TYPE ON COSTS

The cost of a power plant depends upon, when a new power plant is to set up or an existing plant

is to be replaced or plant to be extended. The cost analysis includes

1. Fixed Cost

It includes Initial cost of the plant, Rate of interest, Depreciation cost, Taxes, and Insurance.

2. Operational Cost

It includes Fuel cost, Operating labour cost, Maintenance cost, Supplies, Supervision, Operating

taxes.

1.INITIAL COST

The initial cost of a power station includes the following:

1. Land cost

2. Building cost

3. Equipment cost

4. Installation cost

5. Overhead charges, which will include the transportation cost, stores and storekeeping charges,

interest during construction etc.

To reduce the cost of building, it is desirable to eliminate the superstructure over the boiler house

and as far as possible on turbine house also. Adopting unit system where one boiler is used for one turbogenerator can reduce the cost on equipment. Also by simplifying the piping system and elimination of duplicate system such as steam headers and boiler feed headers. Eliminating duplicate or stand-by auxiliaries can further reduce the cost. When the power plant is not situated in the proximity to the load served, the cost of a primary distribution system will be a part of the initial investment.

2.RATE OF INTEREST

All enterprises need investment of money and this money may be obtained as loan, through bonds and shares or from owners of personal funds. Interest is the difference between money borrowed and money returned. It may be charged at a simple rate expressed as % per annum or may be compounded, in which case the interest is reinvested and adds to the principal, thereby earning more interest in subsequent years. Even if the owner invests his own capital the charge of interest is necessary to cover the income that he would have derived from it through an alternative investment or fixed deposit with a bank. Amortization in the periodic repayment of the principal as a uniform annual expense.

3.DEPRECIATION

Depreciation accounts for the deterioration of the equipment and decrease in its value due to corrosion, weathering and wear and tear with use. It also covers the decrease in value of equipment due to obsolescence. With rapid improvements in design and construction of plants, obsolescence factor is of enormous importance. Availability of better models with lesser overall cost of generation makes it imperative to replace the old equipment earlier than its useful life is spent. The actual life span of the plant has, therefore, to be taken as shorter than what would be normally expected out of it.

The following methods are used to calculate the depreciation cost:

(1) Straight line method

(2) Percentage method

(3) Sinking fund method

(4) Unit method.

Straight Line Method. It is the simplest and commonly used method. The life of the equipment

or the enterprise is first assessed as also the residual or salvage value of the same after the estimated life span. This salvage value is deducted from the initial capital cost and the balance is divided by the life as assessed in years. Thus, the annual value of decrease in cost of equipment is found and is set aside as depreciation annually from the income. Thus, the rate of depreciation is uniform throughout the life of the equipment. By the time the equipment has lived out its useful life, an amount equivalent to its net cost is accumulated which can be utilized for replacement of the plant.

Percentage Method. In this method the deterioration in value of equipment from year to year is

taken into account and the amount of depreciation calculated upon actual residual value for each year. It thus, reduces for successive years.

Sinking Fund Method. This method is based on the conception that the annual uniform deduction from income for depreciation will accumulate to the capital value of the plant at the end of life of the  plant or equipment. In this method, the amount set aside per year consists of annual installments and the interest earned on all the installments.

Let,

A = Amount set aside at the end of each year for n years.

n = Life of plant in years.

S = Salvage value at the end of plant life.

i = Annual rate of compound interest on the invested capital.

P = Initial investment to install the plant.

Then, amount set aside at the end of first year = A

Amount at the end of second year

= A + interest on A = A + Ai = A(1 + i)

Amount at the end of third year

= A(1 + i) + interest on A(1 + i)

= A(1 + i) +A(1 + i)i

= A(1 + i)2

Amount at the end of nth year = A(1 + i)n – 1

Total amount accumulated in n years (say x)

= sum of the amounts accumulated in n years

i.e., x = A + A(1 + i) + A(1 + i)2 + ...... + A(1 + i)n – 1

= A[1 + (1 + i) + (1 + i)2 +...... + (1 + i)n – 1] ...(1)

Multiplying the above equation by (1 + i), we get

x(1 + i) = A [(1 + i) + (1 + i)2 + (1 + i)3 + ...... + (1 + i)n] ...(2)

Subtracting equation (1) from (2), we get

x.i = [(1 + i)n – 1] A

x = [{(1 + i)n – 1}/i]A, where x = (P – S)

P – S = [{(1 + i)n – 1}/i]A

A = (P – S)[i/{(1 + i)n – 1}]A

2. OPERATIONAL COSTS

The elements that make up the operating expenditure of a power plant include the following

(1) Cost of fuels.

(2) Labour cost.

(3) Cost of maintenance and repairs.

(4) Cost of stores (other than fuel).

(5) Supervision.

(6) Taxes.

1. COST OF FUELS

In a thermal station fuel is the heaviest item of operating cost. The selection of the fuel and the maximum economy in its use are, therefore, very important considerations in thermal plant design. It is desirable to achieve the highest thermal efficiency for the plant so that fuel charges are reduced. The cost of fuel includes not only its price at the site of purchase but its transportation and handling costs also. In the hydro plants the absence of fuel factor in cost is responsible for lowering the operating cost. Plant heat rate can be improved by the use of better quality of fuel or by employing better thermodynamic conditions in the plant design.

The cost of fuel varies with the following:

(1) Unit price of the fuel.

(2) Amount of energy produced.

(3) Efficiency of the plant.

2. LABOUR COST

For plant operation labour cost is another item of operating cost. Maximum labour is needed in a

thermal power plant using. Coal as a fuel. A hydraulic power plant or a diesel power plant of equal capacity requires a lesser number of persons. In case of automatic power station the cost of labour is reduced to a great extent. However labour cost cannot be completely eliminated even with fully automatic station, as they will still require some manpower for periodic inspection etc.

3. COST OF MAINTENANCE AND REPAIRS

In order to avoid plant breakdowns maintenance is necessary. Maintenance includes periodic

cleaning, greasing, adjustments and overhauling of equipment. The material used for maintenance is also charged under this head. Sometimes an arbitrary percentage is assumed as maintenance cost. A good plan of maintenance would keep the sets in dependable condition and avoid the necessity of too many stand-by plants. Repairs are necessitated when the plant breaks down or stops due to faults developing in the mechanism. The repairs may be minor, major or periodic overhauls and are charged to the depreciation fund of the equipment. This item of cost is higher for thermal plants than for hydro-plants due to complex nature of principal equipment and auxiliaries in the former.

4. COST OF STORES

The items of consumable stores other than fuel include such articles as lubricating oil and greases, cotton waste, small tools, chemicals, paints and such other things. The incidence of this cost is also higher in thermal stations than in hydro-electric power stations.

5. SUPERVISION

In this head the salary of supervising staff is included. A good supervision is reflected in lesser

breakdowns and extended plant life. The supervising staff includes the station superintendent, chief engineer, chemist, engineers, supervisors, stores incharges, purchase officer and other establishment. Again, thermal stations, particularly coal fed, have a greater incidence of this cost than the hydro-electric power stations.

6. TAXES

The taxes under operating head includes the following:

(i) Income tax

(ii) Sales tax

(iii) Social security and employee’s security etc.

ENVIRONMENTAL CONSIDERATIONS

The atmosphere consists of a mixture of gases that completely surround the earth. It extends to an altitude of 800 to 1000 kms above the earth’s surface, but is deeper at the equator and shallow at the poles. About 99.9% of the mass occurs below 50 km and 0.0997% between 50 and 100 km altitude.

Major polluting gases/particles are confined to the lowermost layer of atmosphere known as Troposphere.

That extends between 8 and 16 kms above the earth surface.

The main sources of atmospheric pollution may be summarized as follows:

(a) The combustion of fuels to produce energy for heating and power generation both in the

domestic sector as well as in the industrial sector.

(b) The exhaust emissions from the transport vehicles that use petrol, or diesel oil etc.

(c) Waste gases, dust and heat from many industrial sites including chemical manufacturers,

electrical power generating stations etc

ENVIRONMENT POLLUTION DUE TO INDUSTRIAL EMISSIONS

Air borne emissions emitted from various industries are a cause of major concern. These emissions are of two forms, viz. solid particles (SPM) and gaseous emissions (SO2, NOx, CO, etc.). Liquid effluents, generated from certain industries, containing organic and toxic pollutants are also a cause of concern. Heavily polluting industries were identified which are included under the 17 categories of highly polluting industries for the purpose of monitoring and regulating pollution from them. The Ministry of Environment and Forests has, over the last two decades, developed standards for regulating emissions from various industries and emission standards for all the polluting industries including thermal power stations, iron and steel plants, cement plants, fertilizer plants, oil refineries, pulp and paper, petrochemicals, sugar, distilleries and tanneries have been prescribed. The industrial units in India are largely located in the States of Gujarat, Maharastra, Uttar Pradesh, Bihar, West Bengal and Madhya Pradesh. The highest concentration of sulpher dioxide and oxides of nitrogen is therefore often found in cities located in these states. Some other industrial estates in Delhi, Punjab, Rajasthan and Andhra Pradesh are also becoming critical.

HARMFUL EFFECTS OF EMISSIONS

The high concentration of particulates in the atmosphere over large urban and industrial areas can produce a number of general effects. Smoke and fumes can increase the atmospheric turbidity and reduce the amount of solar radiation reaching the ground. The overall effect of air pollution upon the biosphere and the built environment can be broadly considered under 3 headings: The effect upon:

(1) Buildings and materials

(2) Soil, vegetation, crops and animal life

(3) Human beings

1. BUILDING AND MATERIALS

The fabric of buildings, that are surrounded by heavily polluted air for years undergo chemical changes. Gradual erosion takes place and this is only too evident when grimy upper surface is removed. A good example is that of the famous historical monument ‘Taj Mahal’ at Agra, which, on account of reaction of Sulphur-di-oxide, emitted from neighbouring industries, with the limestone has slowly, started turning yellow. As a result, on Court’s directives, a number of measures have been taken to protect our national heritage monument e.g. closure of  eighbouring heavy polluting industries, operation of only non-polluting vehicles like battery busses, tonga in the vicinity of Taj Mahal etc.

2 .SOIL, VEGETABLE AND ANIMAL LIFE

The presence of gaseous pollutants in the air and deposition of particulates on to the soil can affect plants. It can effect the cattle and animals too as they have been found to develop  breathing difficulties and suffer from low yield of milk, lameness and joint stiffness in a polluted environment.

3. HUMAN BEINGS

Smoke and SO2 cause the general and most widespread effects of air pollution on people. Atmospheric smoke contains potentially carcinogenic organic compounds similar to those that occur in cigarette tobacco smoke. The CO affects the cardiovascular system, NOxs affect the respiratory system, Ozone causes increased sensitivity to infections, lung diseases, irritation in eyes, nose and throat etc.

NOISE POLLLUTION AND ITS CONTROL

Of late, noise has been recognized as a pollutant which until recently was considered only as a

nuisance. The Central Pollution Control Board (CPCB) has notified the ambient noise standards in 1987 under section 20 of the Air (Prevention and Control of Pollution) Act, 1981. The noise standards specify limits as 55dBA and 45dBA as limits for day and night time respectively for residential areas, 75 dBA and 70dBA in the day and night time for industrial areas, and 50 dBA and 40 dBA in the day and night for silence zones. Special campaign for reduction in use of fire crackers in Delhi have resulted in reduced pollution levels during Diwali in 1999.

The creation of noise creates the pollution by increasing the sound level of the atmosphere. It is

estimated that the environmental sound level is doubling in loudness after every 10 years. The increase in sound level of the atmosphere is not the major problem presently but desirable sound level is essential in power plants and every step should be taken to reduce the sound level of the power plants to a tolerable level. Heavy noise environment has extremely unpleasant effects on

people exposed to them. Continuous exposure to noise level above 100 dBA has adverse effect on hearing ability within a short time.

Therefore, in world energy conference of 1971, a study of noise suppression in thermal power plants occupied a major percentage of the, seminars conducted. The main sources of noise in a power plant are turbo-alternators, fans and power transformers. The simple sound proofing system consists of adequate insulation of the turbine, body and piping, with a dashpot on the air-inlet to the fans. A moderate treatment includes a complete casing for turbo-alternator.

AIR POLLUTION BY THERMAL POWER PLANTS

The environmental pollution by thermal power plants using fossil fuels poses a serious health hazard to modern civilization. Air pollution by thermal plants is a contributing factor in the cause of various respiratory diseases and lung cancer and causes significant damage to the property in addition to causing annoyance to the public.

The thermal power plants burning conventional fuels (coal, oil or gas) contribute to air pollution

in a large measure. The combustible elements of the fuels are converted to gaseous products, and noncombustible elements as ash. The common gaseous products of interest are sulphur dioxide, nitrogen oxide, carbon dioxide and carbon monoxide, and large quantities of particulate materials as fly ash, carbon particles, silica, alumina and iron oxide.

The energy industries are one of the largest sources of environmental pollution. A 350 mW coalfired station emits about 75 tons of SO2, 16 tons of nitrogen oxide, and 500 tons of ash per day if no safeguards is adopted. All steam-generating plants also discharge nearly 60% of heat produced back to the atmosphere irrespective of the fuel used.

Due to large emissions from the thermal power plants, air pollution has become an international

problem. This problem is mainly faced by 11 countries in the world, which share 80% of the world's fossil-fired generating capacity. Emissions from their power plants have grown to point where we and all of them now must think for controlling the pollution contributing to a common atmosphere.

Many countries have unique air pollution problems. These are due to fuel characteristics, unfavorable topographical conditions, concentration of power plants in limited area and high population densities. The production capacities of 11 countries, which share 80% world-electric generation. The major pollutants given off by fossil fuel combustion are particulates, SO2 and other gases and it will be sufficient to discuss about these pollutants.

WATER POLLUTION BY THERMAL POWER PLANTS

Another serious problem is the water pollution caused by thermal power plants. The water pollution is caused by discharging hot condenser water and water discharged into the river carrying the ash of the plant. The discharge of polluted water causes hydrological and biological effects on the surrounding ecology. The biological study should determine the types of aquatic organisms in the area and their adaptability to the environmental variations.

Thermal pollution of water is very important for the fish cultivation, as their growth is very

susceptible to the temperature changes. Another important constituent in the discharge of cooling water is residual chlorine as chlorine or sodium hypochlorite is used to prevent fouling of the condensers. Another serious problem associated with the discharged water is the ash carried by the water. The ash gets spread over the large cultivated area along the path of the river and affects the agricultural growth very much. This is because; the ash has high alkaline characteristics, which are injurious for the growth of many agricultural products. The ash destroys the fertility of the land forever. Such phenomenon was badly experienced when the ash from Koradi thermal power station in Maharashtra was discharged in the river. The wastewater from water demineralization plant contains large quantities of chlorides of Ca, Mg, Na and K. This wastewater is channeled out to some river or to an ash pond along the fly ash. On the way to river or ash pond, these salts percolate in the nearby soil and make the ground water salty. In the ash pond, the situation is worse as there is continuous accumulation of these salts and the pond reaches a saturation level of these salts. The process of salt saturation in the pond is further accelerated by solar evaporation of the water. The wells on the area covering a few kilometers from the ponds become salty and polluted water from these wells becomes harmful for human consumption as well as for irrigation purposes. Discharging these salts with the wastewater aggravates the pollution problem but also loses them, even though; their recovery is simple and economical The wastewater can be treated first with lime, to precipitate magnesium hydroxide and then with soda ash to get precipitated calcium carbonate and the resulting sodium chloride solution can be reused far regeneration of softeners. The above-mentioned reactions are listed below.

MgCl2 + Ca(OH)2 = Mg(OH)2 ↓ + CaCl2

CaCl2 + Na2 CO3 = CaCO3 ↓ + 2 NaCl.

ENVIRONMENT CONCERNS AND DIESEL POWER PLANTS

With the emergence of liquid fuel based power stations in India, the question of environment pollution has become a matter of raging debate. The coal based thermal power stations, in its earlier stages of inception, were far more polluting? It was because of the combination of sulphur-based pollutants, nitrogen based gaseous matter and also particulate matter with very high ash content being released in the atmosphere.

Globally, environmental regulatory authorities are increasingly concerned with NOx and SOx

emissions and are liable to consider introducing stringent regulatory standards in the future. While the levels of SOx emissions is the function of sulphur content inhered in the fuel being used for combustion? NOx is created by the chemical activity between atmospheric oxygen and nitrogen during combustion. The level of NOx depends on the combustion conditions. Optimal combustion in a diesel engine depends upon the achievement of the right balance of equation between compression/combustion pressure, compression ratio, air-to-fuel ratio and mean effective pressure. The toughest of the emission standards currently being considered by various national and international agencies, calls for limitation of NOx emissions to 600 ppm(15% O2) for generator sets operating on ocean bound vessels. The shore-based power stations shall demand for further lower limits due to proximity to the human inhabitation.

Burning heavy fuel in diesel engine is convenient mainly due to economics of residual fuel

combustion for power generation. Diesel engine designers’ world over will increasingly come under pressure to introduce superior combustion features for producing lower levels of SOx and NOx. The exhaust gas composition of emissions or pollutants given above is for using furnace oil of different grades and varying sulphur contents. The exhaust gas of medium speed engines comprises of a host of constituents. In the case of combusting heavy fuel like furnace oil, these emanate either from combustion air and fuel used, or they are reaction products, which get formed during the combustion process. Only some of these are considered to be pollutants for the atmosphere:

NUCLEAR POWER PLANT AND THE ENVIRONMENT

In the United States, and doubtless in almost all countries constructing nuclear power plants,federal licensing proceedings for each plant require the inclusion of detailed environmental statements to be issued as public documents. In the United States, these should be in accordance with the National Environmental Policy Act of 1969 (NEPA). Such statements must assess not only the impact upon the environment that is associated with the construction and the operation of the power plant, but also the effect of the transportation of radioactive materials to and from that plant.

Besides thermal pollution, which it shares with almost all types of power plants, nuclear power’s

effects on the environment stem mainly from

(1) the nuclear fuel cycle,

(2) low-level dose radiations from nuclear-power plant effluents, and (3) low and high-level dose

radiations from wastes.